## SAFETY EQUIPMENT CHECKLIST
NEPTUNE PACIFIC AGENCY AUSTRALIA PTY LTD
SAFETY EQUIPMENT CHECKLIST
CHECKLIST TO BE INCLUDED WITH MONTHLY RETURNS
|  |  | DATE | CHECKED BY | REMARKS
VISUAL INSPECTIONS OF: |  | Weekly
LIFERAFT |  | Weekly
Co2 System - Visual Inspection |  | Weekly
SELF CONTAINED BREATHING APPARATUS |  | Weekly
Co2 System - Visual Inspection
PORTABLE FIRE EXTINGUISHER |  | Weekly
LIFEBOAT |  | Weekly
SELF CONTAINED BREATHING APPARATUS |  | Weekly
LIFE BUOY LIGHTS & SMOKE SIGNAL |  | Weekly
ALL WATERTIGHT DOORS |  | Weekly
ALL VENT FLAPS |  | Weekly
RESCUE BOAT |  | Weekly
EPIRB |  | Weekly
EMBARKATION GATES OPEN FREELY |  | Weekly
OPERATION OF:
RESCUE BOAT OUTBOARD ENGINE |  | Weekly
LIFE BOAT ENGINE |  | Weekly
EMER> GENERATOR |  | Weekly
EMERGENCY FIRE PUMP |  | Weekly
EMERGENCY FIRE PUMP REMOTE OPRATION |  | Weekly
SEWAGE DISCHARGE PUMP |  | Weekly
QUICK CLOSING VALVES OPERATYION |  | Monthly
FOREPEAK VALVE |  | Weekly
MAIN ENGINE STOP |  | 3 Monthly
ALL VALVES IN BOW THRUSTER COMPARTMENT |  | Weekly
EMER. BILGE SUCTION |  | Monthly
E/R FLAPS |  | Weekly
EMER FAN STOPS |  | 3 Monthly
| ELECTRICIAN | Weekly
EMERGENCY POWER SUPPLY
EMERGENCY LIGHTING
BATTERIES, RADIO, ALARM AND EMERGENCY
FIRE & SMOKE DETECTOR SYSTEM
ALL BILGE ALARMS
GENERAL EMERGENCY ALARM
DOMESTIC FREEZER & COOLER ALARM
DETAILS OF BATTERY CHECK TO BE RECORDED IN THE BATTERY RECORD BOOK.
THE ELECTRICIAN IS TO CHECK THE LIMITS (UPPER) SWITCHES PRIOR TO THE START OF CARGO
OPERATION AT EACH PORT.

## SAFETY CHECKLIST
MyriadSea
Weekly Recording of checks carried out for the Safety items
( SOLAS '04 Ch: III, Reg. 20:6 ) / VERSION 02
| Check list | Period | DATE | CHECKED BY | REMARKS
VISUAL INSPECTIONS OF: C/O
LIFERAFT | 50 | Weekly
SELF CONTAINED BREATHING APPARATUS | 52 | Weekly |  |  |  | Í
PORTABLE FIRE EXTINGUISHER | 53 | Weekly
LIFEBOAT | 55 | Weekly
EMERGENCY ESCAPE BREATHING DEVICE |  | Weekly
PERSONAL LIFESAVING EQUIPMENT CHECKLIST | 58 | Weekly
LIFE BUOY LIGHTS & SMOKE SIGNAL | 49 | Weekly
ALL WATERTIGHT DOORS |  | Weekly
ALL VENT FLAPS |  | Weekly
RESCUE BOAT | 57 | Weekly
EPIRB |  | Weekly
EMBARKATION GATES OPEN FREELY |  | Weekly
CONFIRM FIRE SAFETY OPERATIONAL BOOKLETS AND TRAINING MANUALS ARE IN PLACE IN MESS ROOM |  | Weekly
OPERATION OF: C/O, 2/ENG
RESCUE BOAT OUTBOARD ENGINE | 57 | Weekly
LIFE BOAT ENGINE | 55 | Weekly
EMERGENCY GENERATOR |  | Weekly
EMERGENCY FIRE PUMP |  | Weekly
EMERGENCY FIRE PUMP REMOTE OPERATION |  | Weekly
SEWAGE DISCHARGE PUMP |  | Weekly
FOREPEAK VALVE |  | Weekly
ALL VALVES IN BOW THRUSTER COMPARTMENT |  | Weekly
E/R FLAPS |  | Weekly
CHIEF ENGINEER
EMERGENCY POWER SUPPLY |  | Weekly
EMERGENCY LIGHTING |  | Weekly
BATTERIES, RADIO, ALARM AND EMERGENCY |  | Weekly
INSULATION READING ON MAIN SWITCH BOARD |  | Weekly
FIRE & SMOKE DETECTOR SYSTEM |  | Weekly
ALL BILGE ALARMS |  | Weekly
GENERAL EMERGENCY ALARM |  | Weekly
DOMESTIC FREEZER & COOLER ALARM |  | Weekly
QUICK CLOSING VALVES OPERATYION |  | Monthly
EMER. BILGE SUCTION |  | Monthly
CARGO HOLD SMOKE DETECTING SYSTEM |  | Monthly
CO2 SYSTEM ALL STOP VALVES FOR PROPER OPEN OR CLOSED POSITION |  | Monthly
CO2 SYSTEM OPERATING SYSTEM |  | 3 Monthly
MAIN ENGINE STOP / SHUT DOWNS |  | 3 Monthly
EMERGENCY STOPS, FANS AND DAMPERS |  | 3 Monthly
DETAILS OF BATTERY CHECK TO BE RECORDED IN THE BATTERY RECORD SHEET 80
CRANE - THE ELECTRICIAN IS TO CHECK THE LIMITS (UPPER) SWITCHES PRIOR TO THE START OF CARGO
OPERATION AT EACH PORT.
VERIFICATION BY THE MASTER THAT ALL CHECKS ARE COMPLETE |  |  | DATE | NAME | SIGNATURE

## C02 FIRE EXTINGUISHING INSTALLA
NEPTUNE PACIFIC AGENCY AUSTRALIA PTY LTD
CO2 FIRE EXTINGUISHING INSTALLATION
The following are supplementary to the guidelines in MSC / CIRC. 850
| DATE | CHECKED BY | REMARKS
The quantity of the medium in the CO2 bottles should be checked once every 4 years. This may be carried out in batches of:
- 25% the CO2 bottles annually, or |  |  |  | 4years
- 50% of the CO2 bottles biennially or |  |  |  | 4years
in accordance with the ship's maintenance so long as every CO2 bottle is checked once every 4 years.
CO2 bottles of fixedCO2 fire extinguishing installation should be hydraulically pressure tested 20 years after the date on which the bottles were put into use, and every 5 years thereafter; |  |  |  | 5years
Note on E13: Marry-Anne Aukino: the above to be inserted in with checklist being created by duane